[image: image3.png]





[image: image1]
Seismic Risk Analysis Checklist

[image: image2]
	PROPERTY NAME:

	DATE:

	PROJECT NUMBER:


This Structural Risk Evaluation Questionnaire provides additional assessment of the seismic risk factors associated with a Property, and is recommended for any Property located in a region with a strong risk of high seismic activity. A strong risk of high seismic activity is any region with a 10% or greater probability of the maximum Peak Ground Acceleration exceeding 0.15g at any point within a 50-year period (as determined by the United States Geological Survey (USGS), with g being the acceleration of a falling object due to gravity).

	RISK FACTORS
	YES
	NO
	NA

	1.
Do any of the buildings on the Property consist of unreinforced masonry construction?  (If fully retrofitted after the year 2000, then answer “No”)
	
	
	

	2.
Are any of the buildings on the Property located on a 30-degree (58%) or greater slope?
	
	
	

	3.
Do any buildings on the Property have reinforced masonry and pre-cast concrete or tilt-up building concrete constructed prior to 1994?
	
	
	

	4. Do any of the structures on the Property have reinforced concrete shear walls or are concrete framed buildings constructed prior to 1976
	
	
	

	5. Do any of the structures on the Property have reinforced concrete shear walls or are concrete framed buildings constructed prior to 2000?
	
	
	

	6. Do any of the wood framed structures on the Property have unbraced cripple walls (sometimes referred to as crawl space walls – short wood perimeter walls used to elevate a Property above-ground? 
	
	
	

	7. Do any structures on the Property have a weak or soft story (as defined by the International Building Code, the latest edition)? 
	
	
	

	8.
Do any of the building structures have tuck-under parking constructed prior to 1988?
	
	
	

	9. Are any of the building structures on the Property constructed with or contain adobe or hollow clay tiles?
	
	
	

	10. Are any structures on the Property pre-cast concrete construction with four or more stories?
	
	
	

	11.  Constructed prior to 1945 (i.e., structures not positively attached to the foundations and cripple walls)?
	
	
	

	12. Are any of the structures on the Property 8-stories or greater and
       constructed prior to 2000?
	
	
	

	13. Is the building located less than 2-feet between adjacent buildings (pounding hazard) and were constructed prior to 2000?
	
	
	

	14. Have any of the building structures on the Property sustained previous structural earthquake damage?
	
	
	




